## protocol
sections | CH1_status | CH1_time_ | CH1_period | CH1_pulse_width | CH2_status | CH2_time_sec | CH2_period | CH2_pulse_width
0 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
1 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
2 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
3 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
4 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
5 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
6 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
7 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
8 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
9 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
10 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
11 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
12 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
13 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
14 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
15 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
16 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
17 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
18 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
19 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
20 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
21 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
22 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
23 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
24 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
25 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
26 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
27 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
28 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
29 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
30 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
31 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
32 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
33 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
34 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
35 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
36 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
37 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
38 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
39 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
40 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
41 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
42 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
43 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
44 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
45 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
46 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
47 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
48 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
49 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
50 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
51 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
52 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
53 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
54 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
55 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
56 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
57 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
58 | 1 | 1 | 0 | 0 | 0 | 0 | 0 | 0
59 | 0 | 1 | 0 | 0 | 0 | 0 | 0 | 0
0 | 0 | 0 | 0 | 0 | 1 | 2 | 200 | 20
2 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
4 | 0 | 0 | 0 | 0 | 1 | 2 | 200 | 20
6 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
8 | 0 | 0 | 0 | 0 | 1 | 2 | 200 | 20
10 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
12 | 0 | 0 | 0 | 0 | 1 | 2 | 200 | 20
14 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
16 | 0 | 0 | 0 | 0 | 1 | 2 | 200 | 20
18 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
20 | 0 | 0 | 0 | 0 | 1 | 2 | 200 | 20
22 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
24 | 0 | 0 | 0 | 0 | 1 | 2 | 200 | 20
26 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
28 | 0 | 0 | 0 | 0 | 1 | 2 | 200 | 20
30 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
32 | 0 | 0 | 0 | 0 | 1 | 2 | 200 | 20
34 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
36 | 0 | 0 | 0 | 0 | 1 | 2 | 200 | 20
38 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
40 | 0 | 0 | 0 | 0 | 1 | 2 | 200 | 20
42 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
44 | 0 | 0 | 0 | 0 | 1 | 2 | 200 | 20
46 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
48 | 0 | 0 | 0 | 0 | 1 | 2 | 200 | 20
50 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
52 | 0 | 0 | 0 | 0 | 1 | 2 | 200 | 20
54 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0
56 | 0 | 0 | 0 | 0 | 1 | 2 | 200 | 20
58 | 0 | 0 | 0 | 0 | 0 | 2 | 0 | 0

## start_time
Channels | start_time | wait_status
CH1 | 0 | 0
CH2 | 5 | 0

## info
AUTOMATIC CALIBRATION EXAMPLE
This Excel protocol uses the NEW automatic calibration system.
KEY DIFFERENCES FROM PRESET CALIBRATION:
✗ NO 'calibration' sheet included
✓ System automatically identifies your Arduino board
✓ Calibration factor retrieved from database
✓ First-time users prompted to calibrate once
✓ Subsequent runs are automatic - no manual tracking
FIRST RUN WORKFLOW:
1. System identifies Arduino by serial number/VID:PID
2. Checks calibration database
3. If not calibrated, prompts: 'Calibrate now? (Y/n)'
4. Calibration saved automatically to database
5. Protocol execution begins with calibrated timing
SUBSEQUENT RUNS:
- Calibration loaded automatically from database
- No prompts or manual input needed
- Works even if Arduino plugged into different USB port
WHY NO CALIBRATION SHEET?
The absence of a 'calibration' sheet signals to the parser that
this protocol uses automatic calibration. The system will:
1. Detect the connected Arduino board
2. Look up its unique ID in the database
3. Apply the stored calibration factor
BENEFITS:
• No manual calibration factor management
• Seamless multi-board support
• Eliminates tracking errors
• Simpler Excel file structure
MANAGEMENT COMMANDS:
View calibrations: python utils/manage_calibrations.py list
Test board ID: python test_board_info.py
Force recalibrate: python protocol_parser.py 2 <port> <file> --calibrate
DOCUMENTATION:
Complete guide: docs/AUTO_CALIBRATION_DATABASE.md
Compatibility: docs/BACKWARD_COMPATIBILITY.md
TXT examples: examples/auto_calibration/simple_blink_example.txt